## Linearity Study
Sample ID | Analyte | Nominal Concentration (mg/dL) | Replicate | Measured Value (mg/dL)
CREA-LIN-001 | Creatinine | 0.5 | 1 | 0.499
CREA-LIN-002 | Creatinine | 0.5 | 2 | 0.523
CREA-LIN-003 | Creatinine | 0.5 | 3 | 0.502
CREA-LIN-004 | Creatinine | 1 | 1 | 1.01
CREA-LIN-005 | Creatinine | 1 | 2 | 1.037
CREA-LIN-006 | Creatinine | 1 | 3 | 1.029
CREA-LIN-007 | Creatinine | 2 | 1 | 2.062
CREA-LIN-008 | Creatinine | 2 | 2 | 2.086
CREA-LIN-009 | Creatinine | 2 | 3 | 2.031
CREA-LIN-010 | Creatinine | 5 | 1 | 5.022
CREA-LIN-011 | Creatinine | 5 | 2 | 5.163
CREA-LIN-012 | Creatinine | 5 | 3 | 5.16
CREA-LIN-013 | Creatinine | 10 | 1 | 10.151
CREA-LIN-014 | Creatinine | 10 | 2 | 10.01
CREA-LIN-015 | Creatinine | 10 | 3 | 10.386
CREA-LIN-016 | Creatinine | 15 | 1 | 15.43
CREA-LIN-017 | Creatinine | 15 | 2 | 14.991
CREA-LIN-018 | Creatinine | 15 | 3 | 15.475
CREA-LIN-019 | Creatinine | 20 | 1 | 19.968
CREA-LIN-020 | Creatinine | 20 | 2 | 20.255
CREA-LIN-021 | Creatinine | 20 | 3 | 20.063

## Study Summary
Parameter | Value
Analyte | Creatinine
Instrument | Roche Cobas c501
Method | Enzymatic (IDMS-traceable)
Units | mg/dL
N Levels | 7
Levels (mg/dL) | 0.5, 1.0, 2.0, 5.0, 10.0, 15.0, 20.0
Replicates per Level | 3
Total Measurements | 21
Expected R-squared | >= 0.995
Acceptance | Slope 0.95-1.05, R-sq >= 0.995, recovery 90-110%
Reportable Range | 0.5 - 20.0 mg/dL